Cetrimide Agar Base

| Product No. | Product Category | Specification |
| --- | --- | --- |
| HCM047 | Dehydrated Culture Medium | 500g/bottle |

Intended Use

For isolation and enumeration of Pseudomonas aeruginosa in water samples.

Principle and Interpretation

Peptone provide nitrogen; glycerol carbon source; potassium and magnesium can promote green pus pigment production; hexadecyl trimethyl ammonium bromide is a selective antibacterial agent, as a quaternary ammonium salt cationic detergent may bacterial cells release nitrogen and phosphorus and suppress non-Pseudomonas aeruginosa bacteria; agar is medium coagulant.

Formulation

| Ingredients | /liter |
| --- | --- |
| Pancreatic digest of peptone | 20.0g |
| Magnesium chloride | 1.4g |
| Dipotassium sulfate | 10.0g |
| Cetrimide | 0.3g |
| Agar | 13.6g |
| pH7.2±0.2 at 25°C |  |

Preparation

Suspend 45.3 g/l. Add 10 ml glycerol/l. Autoclave (15 min at 121 °C).

Quality Control

Cultural characteristics observed after incubation at 35-37°C for 24 hours

| Quality control strains | Expected Results | Characteristics |
| --- | --- | --- |
| Pseudomonas aeruginosa ATCC9027 | Good | yellow-green pigments |
| Pseudomonas aeruginosa ATCC27853 | Good | yellow-green pigments |
| Escherichia coli ATCC25922 | Inhibition | - |
| Staphylococcus aureus ATCC25923 | Inhibition | - |

Storage and Shelf Life

2-30℃，Keep container tightly closed, avoid direct sunlight.

Use before expiry date on the label.

Precautions

1. When weighing the dehydrated medium, please wear masks to avoid causing respiratory system discomfort

2. Keep container tightly closed after using to prevent clumping.

Waste Disposal

Microbiological contamination was disposed by autoclaving at 121°C for 30 minutes.

Revision

On June 14, 2024

References

United States Pharmacopoeia 38 NF 33 (2015): <62> Microbiological examination of non-sterile products: Tests for specified microorganisms.

The European Pharmacopoeia. 8th Ed. Chapter 2.6.13 Microbiological examination of non-sterile products: Test for specified products.